## sheet
Cell Technology | Package Typ | System Type | Location | First year energy (kWh) | First Year Energy Yield (kWh/kWp) | Degradation Rate (%/year)
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA NM Albuquerque (TMY2) | 183243000 | 1832.43 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA NV Las Vegas (TMY2) | 184613000 | 1846.13 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA TX San Antonio (TMY2) | 156895000 | 1568.95 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA AL Montgomery (TMY2) | 148378000 | 1483.78 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA AR Little Rock (TMY2) | 148005000 | 1480.05 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA AZ Phoenix (TMY2) | 182197000 | 1821.97 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA CA Daggett (TMY2) | 189455000 | 1894.55 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA CO Denver Intl Ap (TMY3) | 159413000 | 1594.13 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA CT Hartford (TMY2) | 131554000 | 1315.54 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA DE Dover Afb (TMY3) | 135517000 | 1355.17 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA FL Fort Lauderdale (TMY3) | 141291000 | 1412.91 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA GA Albany Dougherty County Ap (TMY3) | 141103000 | 1411.03 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA HI Honolulu (TMY2) | 166889000 | 1668.89 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA IA Des Moines (TMY2) | 145012000 | 1450.12 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA ID Boise (TMY2) | 152775000 | 1527.75 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA IL Springfield (TMY2) | 144450000 | 1444.5 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA IN Indianapolis (TMY2) | 138774000 | 1387.74 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA KS Hutchinson Municipal Ap (TMY3) | 157408000 | 1574.08 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA KY Bowling Green Warren Co Ap (TMY3) | 120124000 | 1201.24 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA LA Baton Rouge (TMY2) | 144517000 | 1445.17 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA MA Boston (TMY2) | 139757000 | 1397.57 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA MD Baltimore (TMY2) | 139266000 | 1392.66 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA ME Augusta Airport (TMY3) | 117123000 | 1171.23 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA MI Saginaw Tri City Intl Ap (TMY3) | 130016000 | 1300.16 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA MN Minneapolis (TMY2) | 142539000 | 1425.39 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA MO Kansas City (TMY2) | 147971000 | 1479.71 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA MS Jackson (TMY2) | 147883000 | 1478.83 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA MT Great Falls (TMY2) | 145402000 | 1454.02 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA NC Greensboro (TMY2) | 148255000 | 1482.55 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA ND Bismarck (TMY2) | 149106000 | 1491.06 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA NE North Platte (TMY2) | 159023000 | 1590.23 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA NH Concord (TMY2) | 139144000 | 1391.44 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA NJ Atlantic City (TMY2) | 142374000 | 1423.74 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA NY Rochester (TMY2) | 124126000 | 1241.26 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA OH Columbus (TMY2) | 128777000 | 1287.77 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA OK Oklahoma City (TMY2) | 159124000 | 1591.24 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA OR Roseburg Regional Ap (TMY3) | 130256000 | 1302.56 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA PA Lancaster (TMY3) | 124414000 | 1244.14 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA RI Providence (TMY2) | 140478000 | 1404.78 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA SC Greenville (TMY2) | 149210000 | 1492.1 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA SD Pierre (TMY2) | 154494000 | 1544.94 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA TN Nashville (TMY2) | 144535000 | 1445.35 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA UT Salt Lake City (TMY2) | 156379000 | 1563.79 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA VA Richmond (TMY2) | 143989000 | 1439.89 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA VT Burlington (TMY2) | 130838000 | 1308.38 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA WA Bremerton National (TMY3) | 115630000 | 1156.3 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA WI Madison (TMY2) | 137919000 | 1379.19 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA WV Charleston (TMY2) | 129924000 | 1299.24 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA WY Cheyenne (TMY2) | 160609000 | 1606.09 | 0.65
multi-Si | glass-polymer backsheet | fixed tilt, utility scale | USA AK Anchorage Intl Ap (TMY3) | 93767400 | 937.674 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA NM Albuquerque (TMY2) | 183243000 | 1832.43 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA NV Las Vegas (TMY2) | 184613000 | 1846.13 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA TX San Antonio (TMY2) | 156895000 | 1568.95 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA AL Montgomery (TMY2) | 148378000 | 1483.78 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA AR Little Rock (TMY2) | 148005000 | 1480.05 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA AZ Phoenix (TMY2) | 182197000 | 1821.97 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA CA Daggett (TMY2) | 189455000 | 1894.55 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA CO Denver Intl Ap (TMY3) | 159413000 | 1594.13 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA CT Hartford (TMY2) | 131554000 | 1315.54 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA DE Dover Afb (TMY3) | 135517000 | 1355.17 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA FL Fort Lauderdale (TMY3) | 141291000 | 1412.91 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA GA Albany Dougherty County Ap (TMY3) | 141103000 | 1411.03 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA HI Honolulu (TMY2) | 166889000 | 1668.89 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA IA Des Moines (TMY2) | 145012000 | 1450.12 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA ID Boise (TMY2) | 152775000 | 1527.75 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA IL Springfield (TMY2) | 144450000 | 1444.5 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA IN Indianapolis (TMY2) | 138774000 | 1387.74 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA KS Hutchinson Municipal Ap (TMY3) | 157408000 | 1574.08 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA KY Bowling Green Warren Co Ap (TMY3) | 120124000 | 1201.24 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA LA Baton Rouge (TMY2) | 144517000 | 1445.17 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA MA Boston (TMY2) | 139757000 | 1397.57 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA MD Baltimore (TMY2) | 139266000 | 1392.66 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA ME Augusta Airport (TMY3) | 117123000 | 1171.23 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA MI Saginaw Tri City Intl Ap (TMY3) | 130016000 | 1300.16 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA MN Minneapolis (TMY2) | 142539000 | 1425.39 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA MO Kansas City (TMY2) | 147971000 | 1479.71 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA MS Jackson (TMY2) | 147883000 | 1478.83 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA MT Great Falls (TMY2) | 145402000 | 1454.02 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA NC Greensboro (TMY2) | 148255000 | 1482.55 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA ND Bismarck (TMY2) | 149106000 | 1491.06 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA NE North Platte (TMY2) | 159023000 | 1590.23 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA NH Concord (TMY2) | 139144000 | 1391.44 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA NJ Atlantic City (TMY2) | 142374000 | 1423.74 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA NY Rochester (TMY2) | 124126000 | 1241.26 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA OH Columbus (TMY2) | 128777000 | 1287.77 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA OK Oklahoma City (TMY2) | 159124000 | 1591.24 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA OR Roseburg Regional Ap (TMY3) | 130256000 | 1302.56 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA PA Lancaster (TMY3) | 124414000 | 1244.14 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA RI Providence (TMY2) | 140478000 | 1404.78 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA SC Greenville (TMY2) | 149210000 | 1492.1 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA SD Pierre (TMY2) | 154494000 | 1544.94 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA TN Nashville (TMY2) | 144535000 | 1445.35 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA UT Salt Lake City (TMY2) | 156379000 | 1563.79 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA VA Richmond (TMY2) | 143989000 | 1439.89 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA VT Burlington (TMY2) | 130838000 | 1308.38 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA WA Bremerton National (TMY3) | 115630000 | 1156.3 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA WI Madison (TMY2) | 137919000 | 1379.19 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA WV Charleston (TMY2) | 129924000 | 1299.24 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA WY Cheyenne (TMY2) | 160609000 | 1606.09 | 0.65
multi-Si | glass-glass | fixed tilt, utility scale | USA AK Anchorage Intl Ap (TMY3) | 93767400 | 937.674 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA NM Albuquerque (TMY2) | 249202000 | 2492.02 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA NV Las Vegas (TMY2) | 254580000 | 2545.8 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA TX San Antonio (TMY2) | 200340000 | 2003.4 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA AL Montgomery (TMY2) | 186635000 | 1866.35 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA AR Little Rock (TMY2) | 191214000 | 1912.14 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA AZ Phoenix (TMY2) | 247140000 | 2471.4 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA CA Daggett (TMY2) | 264707000 | 2647.07 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA CO Denver Intl Ap (TMY3) | 211858000 | 2118.58 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA CT Hartford (TMY2) | 163559000 | 1635.59 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA DE Dover Afb (TMY3) | 170665000 | 1706.65 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA FL Fort Lauderdale (TMY3) | 177670000 | 1776.7 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA GA Albany Dougherty County Ap (TMY3) | 178971000 | 1789.71 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA HI Honolulu (TMY2) | 221321000 | 2213.21 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA IA Des Moines (TMY2) | 189500000 | 1895 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA ID Boise (TMY2) | 208064000 | 2080.64 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA IL Springfield (TMY2) | 187610000 | 1876.1 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA IN Indianapolis (TMY2) | 175775000 | 1757.75 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA KS Hutchinson Municipal Ap (TMY3) | 210100000 | 2101 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA KY Bowling Green Warren Co Ap (TMY3) | 152681000 | 1526.81 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA LA Baton Rouge (TMY2) | 181949000 | 1819.49 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA MA Boston (TMY2) | 178302000 | 1783.02 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA MD Baltimore (TMY2) | 178158000 | 1781.58 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA ME Augusta Airport (TMY3) | 149674000 | 1496.74 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA MI Saginaw Tri City Intl Ap (TMY3) | 167789000 | 1677.89 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA MN Minneapolis (TMY2) | 185060000 | 1850.6 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA MO Kansas City (TMY2) | 192300000 | 1923 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA MS Jackson (TMY2) | 188096000 | 1880.96 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA MT Great Falls (TMY2) | 193756000 | 1937.56 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA NC Greensboro (TMY2) | 189979000 | 1899.79 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA ND Bismarck (TMY2) | 197136000 | 1971.36 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA NE North Platte (TMY2) | 211293000 | 2112.93 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA NH Concord (TMY2) | 178144000 | 1781.44 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA NJ Atlantic City (TMY2) | 180937000 | 1809.37 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA NY Rochester (TMY2) | 157845000 | 1578.45 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA OH Columbus (TMY2) | 162112000 | 1621.12 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA OK Oklahoma City (TMY2) | 209963000 | 2099.63 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA OR Roseburg Regional Ap (TMY3) | 171443000 | 1714.43 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA PA Lancaster (TMY3) | 157298000 | 1572.98 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA RI Providence (TMY2) | 178684000 | 1786.84 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA SC Greenville (TMY2) | 191682000 | 1916.82 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA SD Pierre (TMY2) | 204937000 | 2049.37 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA TN Nashville (TMY2) | 182711000 | 1827.11 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA UT Salt Lake City (TMY2) | 209612000 | 2096.12 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA VA Richmond (TMY2) | 183689000 | 1836.89 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA VT Burlington (TMY2) | 166342000 | 1663.42 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA WA Bremerton National (TMY3) | 149183000 | 1491.83 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA WI Madison (TMY2) | 174978000 | 1749.78 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA WV Charleston (TMY2) | 162156000 | 1621.56 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA WY Cheyenne (TMY2) | 215260000 | 2152.6 | 0.65
multi-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA AK Anchorage Intl Ap (TMY3) | 119463000 | 1194.63 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA NM Albuquerque (TMY2) | 249202000 | 2492.02 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA NV Las Vegas (TMY2) | 254580000 | 2545.8 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA TX San Antonio (TMY2) | 200340000 | 2003.4 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA AL Montgomery (TMY2) | 186635000 | 1866.35 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA AR Little Rock (TMY2) | 191214000 | 1912.14 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA AZ Phoenix (TMY2) | 247140000 | 2471.4 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA CA Daggett (TMY2) | 264707000 | 2647.07 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA CO Denver Intl Ap (TMY3) | 211858000 | 2118.58 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA CT Hartford (TMY2) | 163559000 | 1635.59 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA DE Dover Afb (TMY3) | 170665000 | 1706.65 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA FL Fort Lauderdale (TMY3) | 177670000 | 1776.7 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA GA Albany Dougherty County Ap (TMY3) | 178971000 | 1789.71 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA HI Honolulu (TMY2) | 221321000 | 2213.21 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA IA Des Moines (TMY2) | 189500000 | 1895 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA ID Boise (TMY2) | 208064000 | 2080.64 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA IL Springfield (TMY2) | 187610000 | 1876.1 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA IN Indianapolis (TMY2) | 175775000 | 1757.75 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA KS Hutchinson Municipal Ap (TMY3) | 210100000 | 2101 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA KY Bowling Green Warren Co Ap (TMY3) | 152681000 | 1526.81 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA LA Baton Rouge (TMY2) | 181949000 | 1819.49 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA MA Boston (TMY2) | 178302000 | 1783.02 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA MD Baltimore (TMY2) | 178158000 | 1781.58 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA ME Augusta Airport (TMY3) | 149674000 | 1496.74 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA MI Saginaw Tri City Intl Ap (TMY3) | 167789000 | 1677.89 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA MN Minneapolis (TMY2) | 185060000 | 1850.6 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA MO Kansas City (TMY2) | 192300000 | 1923 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA MS Jackson (TMY2) | 188096000 | 1880.96 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA MT Great Falls (TMY2) | 193756000 | 1937.56 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA NC Greensboro (TMY2) | 189979000 | 1899.79 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA ND Bismarck (TMY2) | 197136000 | 1971.36 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA NE North Platte (TMY2) | 211293000 | 2112.93 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA NH Concord (TMY2) | 178144000 | 1781.44 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA NJ Atlantic City (TMY2) | 180937000 | 1809.37 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA NY Rochester (TMY2) | 157845000 | 1578.45 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA OH Columbus (TMY2) | 162112000 | 1621.12 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA OK Oklahoma City (TMY2) | 209963000 | 2099.63 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA OR Roseburg Regional Ap (TMY3) | 171443000 | 1714.43 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA PA Lancaster (TMY3) | 157298000 | 1572.98 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA RI Providence (TMY2) | 178684000 | 1786.84 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA SC Greenville (TMY2) | 191682000 | 1916.82 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA SD Pierre (TMY2) | 204937000 | 2049.37 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA TN Nashville (TMY2) | 182711000 | 1827.11 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA UT Salt Lake City (TMY2) | 209612000 | 2096.12 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA VA Richmond (TMY2) | 183689000 | 1836.89 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA VT Burlington (TMY2) | 166342000 | 1663.42 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA WA Bremerton National (TMY3) | 149183000 | 1491.83 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA WI Madison (TMY2) | 174978000 | 1749.78 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA WV Charleston (TMY2) | 162156000 | 1621.56 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA WY Cheyenne (TMY2) | 215260000 | 2152.6 | 0.65
multi-Si | glass-glass | single-axis tracked, utility scale | USA AK Anchorage Intl Ap (TMY3) | 119463000 | 1194.63 | 0.65
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA NM Albuquerque (TMY2) | 183000000 | 1828 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA NV Las Vegas (TMY2) | 185000000 | 1848 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA TX San Antonio (TMY2) | 157000000 | 1572 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA AL Montgomery (TMY2) | 149000000 | 1486 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA AR Little Rock (TMY2) | 148000000 | 1480 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA AZ Phoenix (TMY2) | 183000000 | 1829 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA CA Daggett (TMY2) | 190000000 | 1897 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA CO Denver Intl Ap (TMY3) | 159000000 | 1589 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA CT Hartford (TMY2) | 131000000 | 1308 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA DE Dover Afb (TMY3) | 135000000 | 1350 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA FL Fort Lauderdale (TMY3) | 142000000 | 1418 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA GA Albany Dougherty County Ap (TMY3) | 141000000 | 1413 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA HI Honolulu (TMY2) | 167000000 | 1674 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA IA Des Moines (TMY2) | 144000000 | 1443 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA ID Boise (TMY2) | 152000000 | 1521 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA IL Springfield (TMY2) | 144000000 | 1439 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA IN Indianapolis (TMY2) | 138000000 | 1382 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA KS Hutchinson Municipal Ap (TMY3) | 157000000 | 1572 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA KY Bowling Green Warren Co Ap (TMY3) | 120000000 | 1199 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA LA Baton Rouge (TMY2) | 145000000 | 1448 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA MA Boston (TMY2) | 139000000 | 1389 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA MD Baltimore (TMY2) | 139000000 | 1388 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA ME Augusta Airport (TMY3) | 116000000 | 1163 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA MI Saginaw Tri City Intl Ap (TMY3) | 129000000 | 1292 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA MN Minneapolis (TMY2) | 142000000 | 1416 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA MO Kansas City (TMY2) | 148000000 | 1475 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA MS Jackson (TMY2) | 148000000 | 1480 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA MT Great Falls (TMY2) | 144000000 | 1444 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA NC Greensboro (TMY2) | 148000000 | 1479 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA ND Bismarck (TMY2) | 148000000 | 1481 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA NE North Platte (TMY2) | 158000000 | 1583 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA NH Concord (TMY2) | 138000000 | 1383 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA NJ Atlantic City (TMY2) | 142000000 | 1417 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA NY Rochester (TMY2) | 123000000 | 1234 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA OH Columbus (TMY2) | 128000000 | 1282 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA OK Oklahoma City (TMY2) | 159000000 | 1589 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA OR Roseburg Regional Ap (TMY3) | 130000000 | 1298 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA PA Lancaster (TMY3) | 124000000 | 1240 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA RI Providence (TMY2) | 140000000 | 1397 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA SC Greenville (TMY2) | 149000000 | 1490 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA SD Pierre (TMY2) | 154000000 | 1536 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA TN Nashville (TMY2) | 144000000 | 1444 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA UT Salt Lake City (TMY2) | 156000000 | 1558 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA VA Richmond (TMY2) | 144000000 | 1437 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA VT Burlington (TMY2) | 130000000 | 1299 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA WA Bremerton National (TMY3) | 115000000 | 1150 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA WI Madison (TMY2) | 137000000 | 1370 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA WV Charleston (TMY2) | 129000000 | 1295 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA WY Cheyenne (TMY2) | 160000000 | 1596 | 0.36
mono-Si | glass-polymer backsheet | fixed tilt, utility scale | USA AK Anchorage Intl Ap (TMY3) | 92800000 | 928 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA NM Albuquerque (TMY2) | 183000000 | 1828 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA NV Las Vegas (TMY2) | 185000000 | 1848 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA TX San Antonio (TMY2) | 157000000 | 1572 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA AL Montgomery (TMY2) | 149000000 | 1486 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA AR Little Rock (TMY2) | 148000000 | 1480 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA AZ Phoenix (TMY2) | 183000000 | 1829 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA CA Daggett (TMY2) | 190000000 | 1897 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA CO Denver Intl Ap (TMY3) | 159000000 | 1589 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA CT Hartford (TMY2) | 131000000 | 1308 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA DE Dover Afb (TMY3) | 135000000 | 1350 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA FL Fort Lauderdale (TMY3) | 142000000 | 1418 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA GA Albany Dougherty County Ap (TMY3) | 141000000 | 1413 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA HI Honolulu (TMY2) | 167000000 | 1674 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA IA Des Moines (TMY2) | 144000000 | 1443 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA ID Boise (TMY2) | 152000000 | 1521 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA IL Springfield (TMY2) | 144000000 | 1439 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA IN Indianapolis (TMY2) | 138000000 | 1382 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA KS Hutchinson Municipal Ap (TMY3) | 157000000 | 1572 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA KY Bowling Green Warren Co Ap (TMY3) | 120000000 | 1199 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA LA Baton Rouge (TMY2) | 145000000 | 1448 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA MA Boston (TMY2) | 139000000 | 1389 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA MD Baltimore (TMY2) | 139000000 | 1388 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA ME Augusta Airport (TMY3) | 116000000 | 1163 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA MI Saginaw Tri City Intl Ap (TMY3) | 129000000 | 1292 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA MN Minneapolis (TMY2) | 142000000 | 1416 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA MO Kansas City (TMY2) | 148000000 | 1475 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA MS Jackson (TMY2) | 148000000 | 1480 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA MT Great Falls (TMY2) | 144000000 | 1444 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA NC Greensboro (TMY2) | 148000000 | 1479 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA ND Bismarck (TMY2) | 148000000 | 1481 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA NE North Platte (TMY2) | 158000000 | 1583 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA NH Concord (TMY2) | 138000000 | 1383 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA NJ Atlantic City (TMY2) | 142000000 | 1417 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA NY Rochester (TMY2) | 123000000 | 1234 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA OH Columbus (TMY2) | 128000000 | 1282 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA OK Oklahoma City (TMY2) | 159000000 | 1589 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA OR Roseburg Regional Ap (TMY3) | 130000000 | 1298 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA PA Lancaster (TMY3) | 124000000 | 1240 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA RI Providence (TMY2) | 140000000 | 1397 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA SC Greenville (TMY2) | 149000000 | 1490 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA SD Pierre (TMY2) | 154000000 | 1536 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA TN Nashville (TMY2) | 144000000 | 1444 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA UT Salt Lake City (TMY2) | 156000000 | 1558 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA VA Richmond (TMY2) | 144000000 | 1437 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA VT Burlington (TMY2) | 130000000 | 1299 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA WA Bremerton National (TMY3) | 115000000 | 1150 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA WI Madison (TMY2) | 137000000 | 1370 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA WV Charleston (TMY2) | 129000000 | 1295 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA WY Cheyenne (TMY2) | 160000000 | 1596 | 0.36
mono-Si | glass-glass | fixed tilt, utility scale | USA AK Anchorage Intl Ap (TMY3) | 92800000 | 928 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA NM Albuquerque (TMY2) | 248831000 | 2488.31 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA NV Las Vegas (TMY2) | 255444000 | 2554.44 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA TX San Antonio (TMY2) | 200903000 | 2009.03 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA AL Montgomery (TMY2) | 186942000 | 1869.42 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA AR Little Rock (TMY2) | 191294000 | 1912.94 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA AZ Phoenix (TMY2) | 248841000 | 2488.41 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA CA Daggett (TMY2) | 265465000 | 2654.65 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA CO Denver Intl Ap (TMY3) | 211310000 | 2113.1 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA CT Hartford (TMY2) | 162618000 | 1626.18 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA DE Dover Afb (TMY3) | 169914000 | 1699.14 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA FL Fort Lauderdale (TMY3) | 178452000 | 1784.52 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA GA Albany Dougherty County Ap (TMY3) | 179321000 | 1793.21 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA HI Honolulu (TMY2) | 222273000 | 2222.73 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA IA Des Moines (TMY2) | 188617000 | 1886.17 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA ID Boise (TMY2) | 207235000 | 2072.35 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA IL Springfield (TMY2) | 186904000 | 1869.04 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA IN Indianapolis (TMY2) | 174995000 | 1749.95 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA KS Hutchinson Municipal Ap (TMY3) | 209929000 | 2099.29 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA KY Bowling Green Warren Co Ap (TMY3) | 152505000 | 1525.05 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA LA Baton Rouge (TMY2) | 182350000 | 1823.5 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA MA Boston (TMY2) | 177188000 | 1771.88 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA MD Baltimore (TMY2) | 177548000 | 1775.48 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA ME Augusta Airport (TMY3) | 148599000 | 1485.99 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA MI Saginaw Tri City Intl Ap (TMY3) | 166611000 | 1666.11 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA MN Minneapolis (TMY2) | 183833000 | 1838.33 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA MO Kansas City (TMY2) | 191724000 | 1917.24 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA MS Jackson (TMY2) | 188368000 | 1883.68 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA MT Great Falls (TMY2) | 192415000 | 1924.15 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA NC Greensboro (TMY2) | 189609000 | 1896.09 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA ND Bismarck (TMY2) | 195799000 | 1957.99 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA NE North Platte (TMY2) | 210338000 | 2103.38 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA NH Concord (TMY2) | 176939000 | 1769.39 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA NJ Atlantic City (TMY2) | 180046000 | 1800.46 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA NY Rochester (TMY2) | 156928000 | 1569.28 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA OH Columbus (TMY2) | 161315000 | 1613.15 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA OK Oklahoma City (TMY2) | 209810000 | 2098.1 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA OR Roseburg Regional Ap (TMY3) | 171051000 | 1710.51 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA PA Lancaster (TMY3) | 156649000 | 1566.49 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA RI Providence (TMY2) | 177618000 | 1776.18 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA SC Greenville (TMY2) | 191501000 | 1915.01 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA SD Pierre (TMY2) | 203798000 | 2037.98 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA TN Nashville (TMY2) | 182626000 | 1826.26 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA UT Salt Lake City (TMY2) | 209061000 | 2090.61 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA VA Richmond (TMY2) | 183246000 | 1832.46 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA VT Burlington (TMY2) | 165078000 | 1650.78 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA WA Bremerton National (TMY3) | 148328000 | 1483.28 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA WI Madison (TMY2) | 173856000 | 1738.56 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA WV Charleston (TMY2) | 161628000 | 1616.28 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA WY Cheyenne (TMY2) | 213843000 | 2138.43 | 0.36
mono-Si | glass-polymer backsheet | single-axis tracked, utility scale | USA AK Anchorage Intl Ap (TMY3) | 118050000 | 1180.5 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA NM Albuquerque (TMY2) | 248831000 | 2488.31 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA NV Las Vegas (TMY2) | 255444000 | 2554.44 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA TX San Antonio (TMY2) | 200903000 | 2009.03 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA AL Montgomery (TMY2) | 186942000 | 1869.42 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA AR Little Rock (TMY2) | 191294000 | 1912.94 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA AZ Phoenix (TMY2) | 248841000 | 2488.41 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA CA Daggett (TMY2) | 265465000 | 2654.65 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA CO Denver Intl Ap (TMY3) | 211310000 | 2113.1 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA CT Hartford (TMY2) | 162618000 | 1626.18 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA DE Dover Afb (TMY3) | 169914000 | 1699.14 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA FL Fort Lauderdale (TMY3) | 178452000 | 1784.52 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA GA Albany Dougherty County Ap (TMY3) | 179321000 | 1793.21 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA HI Honolulu (TMY2) | 222273000 | 2222.73 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA IA Des Moines (TMY2) | 188617000 | 1886.17 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA ID Boise (TMY2) | 207235000 | 2072.35 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA IL Springfield (TMY2) | 186904000 | 1869.04 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA IN Indianapolis (TMY2) | 174995000 | 1749.95 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA KS Hutchinson Municipal Ap (TMY3) | 209929000 | 2099.29 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA KY Bowling Green Warren Co Ap (TMY3) | 152505000 | 1525.05 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA LA Baton Rouge (TMY2) | 182350000 | 1823.5 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA MA Boston (TMY2) | 177188000 | 1771.88 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA MD Baltimore (TMY2) | 177548000 | 1775.48 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA ME Augusta Airport (TMY3) | 148599000 | 1485.99 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA MI Saginaw Tri City Intl Ap (TMY3) | 166611000 | 1666.11 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA MN Minneapolis (TMY2) | 183833000 | 1838.33 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA MO Kansas City (TMY2) | 191724000 | 1917.24 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA MS Jackson (TMY2) | 188368000 | 1883.68 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA MT Great Falls (TMY2) | 192415000 | 1924.15 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA NC Greensboro (TMY2) | 189609000 | 1896.09 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA ND Bismarck (TMY2) | 195799000 | 1957.99 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA NE North Platte (TMY2) | 210338000 | 2103.38 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA NH Concord (TMY2) | 176939000 | 1769.39 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA NJ Atlantic City (TMY2) | 180046000 | 1800.46 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA NY Rochester (TMY2) | 156928000 | 1569.28 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA OH Columbus (TMY2) | 161315000 | 1613.15 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA OK Oklahoma City (TMY2) | 209810000 | 2098.1 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA OR Roseburg Regional Ap (TMY3) | 171051000 | 1710.51 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA PA Lancaster (TMY3) | 156649000 | 1566.49 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA RI Providence (TMY2) | 177618000 | 1776.18 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA SC Greenville (TMY2) | 191501000 | 1915.01 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA SD Pierre (TMY2) | 203798000 | 2037.98 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA TN Nashville (TMY2) | 182626000 | 1826.26 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA UT Salt Lake City (TMY2) | 209061000 | 2090.61 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA VA Richmond (TMY2) | 183246000 | 1832.46 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA VT Burlington (TMY2) | 165078000 | 1650.78 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA WA Bremerton National (TMY3) | 148328000 | 1483.28 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA WI Madison (TMY2) | 173856000 | 1738.56 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA WV Charleston (TMY2) | 161628000 | 1616.28 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA WY Cheyenne (TMY2) | 213843000 | 2138.43 | 0.36
mono-Si | glass-glass | single-axis tracked, utility scale | USA AK Anchorage Intl Ap (TMY3) | 118050000 | 1180.5 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA NM Albuquerque (TMY2) | 7240.19 | 1810.0475 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA NV Las Vegas (TMY2) | 7252.74 | 1813.185 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA TX San Antonio (TMY2) | 6131.34 | 1532.835 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA AL Montgomery (TMY2) | 5774.34 | 1443.585 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA AR Little Rock (TMY2) | 5744.18 | 1436.045 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA AZ Phoenix (TMY2) | 7176.58 | 1794.145 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA CA Daggett (TMY2) | 7464.31 | 1866.0775 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA CO Denver Intl Ap (TMY3) | 6092.48 | 1523.12 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA CT Hartford (TMY2) | 4996.64 | 1249.16 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA DE Dover Afb (TMY3) | 5120.27 | 1280.0675 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA FL Fort Lauderdale (TMY3) | 5451.46 | 1362.865 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA GA Albany Dougherty County Ap (TMY3) | 5452.24 | 1363.06 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA HI Honolulu (TMY2) | 6508.75 | 1627.1875 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA IA Des Moines (TMY2) | 5538.52 | 1384.63 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA ID Boise (TMY2) | 5900.1 | 1475.025 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA IL Springfield (TMY2) | 5565.56 | 1391.39 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA IN Indianapolis (TMY2) | 5359.98 | 1339.995 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA KS Hutchinson Municipal Ap (TMY3) | 6064.69 | 1516.1725 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA KY Bowling Green Warren Co Ap (TMY3) | 4656.48 | 1164.12 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA LA Baton Rouge (TMY2) | 5600.15 | 1400.0375 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA MA Boston (TMY2) | 5307.84 | 1326.96 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA MD Baltimore (TMY2) | 5340.98 | 1335.245 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA ME Augusta Airport (TMY3) | 4448.22 | 1112.055 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA MI Saginaw Tri City Intl Ap (TMY3) | 4965.78 | 1241.445 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA MN Minneapolis (TMY2) | 5411.43 | 1352.8575 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA MO Kansas City (TMY2) | 5674.27 | 1418.5675 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA MS Jackson (TMY2) | 5744.36 | 1436.09 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA MT Great Falls (TMY2) | 5477.46 | 1369.365 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA NC Greensboro (TMY2) | 5714.58 | 1428.645 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA ND Bismarck (TMY2) | 5622.26 | 1405.565 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA NE North Platte (TMY2) | 6046.9 | 1511.725 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA NH Concord (TMY2) | 5258.92 | 1314.73 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA NJ Atlantic City (TMY2) | 5406.16 | 1351.54 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA NY Rochester (TMY2) | 4819.81 | 1204.9525 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA OH Columbus (TMY2) | 4958.51 | 1239.6275 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA OK Oklahoma City (TMY2) | 6179.86 | 1544.965 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA OR Roseburg Regional Ap (TMY3) | 5066.77 | 1266.6925 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA PA Lancaster (TMY3) | 4750.31 | 1187.5775 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA RI Providence (TMY2) | 5355.85 | 1338.9625 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA SC Greenville (TMY2) | 5763.71 | 1440.9275 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA SD Pierre (TMY2) | 5813.26 | 1453.315 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA TN Nashville (TMY2) | 5627.53 | 1406.8825 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA UT Salt Lake City (TMY2) | 6054.74 | 1513.685 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA VA Richmond (TMY2) | 5503.39 | 1375.8475 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA VT Burlington (TMY2) | 5025.5 | 1256.375 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA WA Bremerton National (TMY3) | 4407.95 | 1101.9875 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA WI Madison (TMY2) | 5277.6 | 1319.4 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA WV Charleston (TMY2) | 5001.43 | 1250.3575 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA WY Cheyenne (TMY2) | 6096.96 | 1524.24 | 0.36
mono-Si | glass-polymer backsheet | roof-mounted, residential scale | USA AK Anchorage Intl Ap (TMY3) | 3442.45 | 860.6125 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA NM Albuquerque (TMY2) | 7240.19 | 1810.0475 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA NV Las Vegas (TMY2) | 7252.74 | 1813.185 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA TX San Antonio (TMY2) | 6131.34 | 1532.835 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA AL Montgomery (TMY2) | 5774.34 | 1443.585 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA AR Little Rock (TMY2) | 5744.18 | 1436.045 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA AZ Phoenix (TMY2) | 7176.58 | 1794.145 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA CA Daggett (TMY2) | 7464.31 | 1866.0775 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA CO Denver Intl Ap (TMY3) | 6092.48 | 1523.12 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA CT Hartford (TMY2) | 4996.64 | 1249.16 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA DE Dover Afb (TMY3) | 5120.27 | 1280.0675 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA FL Fort Lauderdale (TMY3) | 5451.46 | 1362.865 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA GA Albany Dougherty County Ap (TMY3) | 5452.24 | 1363.06 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA HI Honolulu (TMY2) | 6508.75 | 1627.1875 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA IA Des Moines (TMY2) | 5538.52 | 1384.63 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA ID Boise (TMY2) | 5900.1 | 1475.025 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA IL Springfield (TMY2) | 5565.56 | 1391.39 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA IN Indianapolis (TMY2) | 5359.98 | 1339.995 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA KS Hutchinson Municipal Ap (TMY3) | 6064.69 | 1516.1725 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA KY Bowling Green Warren Co Ap (TMY3) | 4656.48 | 1164.12 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA LA Baton Rouge (TMY2) | 5600.15 | 1400.0375 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA MA Boston (TMY2) | 5307.84 | 1326.96 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA MD Baltimore (TMY2) | 5340.98 | 1335.245 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA ME Augusta Airport (TMY3) | 4448.22 | 1112.055 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA MI Saginaw Tri City Intl Ap (TMY3) | 4965.78 | 1241.445 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA MN Minneapolis (TMY2) | 5411.43 | 1352.8575 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA MO Kansas City (TMY2) | 5674.27 | 1418.5675 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA MS Jackson (TMY2) | 5744.36 | 1436.09 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA MT Great Falls (TMY2) | 5477.46 | 1369.365 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA NC Greensboro (TMY2) | 5714.58 | 1428.645 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA ND Bismarck (TMY2) | 5622.26 | 1405.565 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA NE North Platte (TMY2) | 6046.9 | 1511.725 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA NH Concord (TMY2) | 5258.92 | 1314.73 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA NJ Atlantic City (TMY2) | 5406.16 | 1351.54 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA NY Rochester (TMY2) | 4819.81 | 1204.9525 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA OH Columbus (TMY2) | 4958.51 | 1239.6275 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA OK Oklahoma City (TMY2) | 6179.86 | 1544.965 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA OR Roseburg Regional Ap (TMY3) | 5066.77 | 1266.6925 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA PA Lancaster (TMY3) | 4750.31 | 1187.5775 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA RI Providence (TMY2) | 5355.85 | 1338.9625 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA SC Greenville (TMY2) | 5763.71 | 1440.9275 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA SD Pierre (TMY2) | 5813.26 | 1453.315 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA TN Nashville (TMY2) | 5627.53 | 1406.8825 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA UT Salt Lake City (TMY2) | 6054.74 | 1513.685 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA VA Richmond (TMY2) | 5503.39 | 1375.8475 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA VT Burlington (TMY2) | 5025.5 | 1256.375 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA WA Bremerton National (TMY3) | 4407.95 | 1101.9875 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA WI Madison (TMY2) | 5277.6 | 1319.4 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA WV Charleston (TMY2) | 5001.43 | 1250.3575 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA WY Cheyenne (TMY2) | 6096.96 | 1524.24 | 0.36
mono-Si | glass-glass | roof-mounted, residential scale | USA AK Anchorage Intl Ap (TMY3) | 3442.45 | 860.6125 | 0.36
CdTe | glass-glass | fixed tilt, utility scale | USA NM Albuquerque (TMY2) | 186829000 | 1868.29 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA NV Las Vegas (TMY2) | 189261000 | 1892.61 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA TX San Antonio (TMY2) | 162031000 | 1620.31 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA AL Montgomery (TMY2) | 153493000 | 1534.93 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA AR Little Rock (TMY2) | 152594000 | 1525.94 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA AZ Phoenix (TMY2) | 187525000 | 1875.25 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA CA Daggett (TMY2) | 194045000 | 1940.45 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA CO Denver Intl Ap (TMY3) | 162957000 | 1629.57 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA CT Hartford (TMY2) | 135011000 | 1350.11 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA DE Dover Afb (TMY3) | 139231000 | 1392.31 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA FL Fort Lauderdale (TMY3) | 147069000 | 1470.69 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA GA Albany Dougherty County Ap (TMY3) | 146120000 | 1461.2 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA HI Honolulu (TMY2) | 172771000 | 1727.71 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA IA Des Moines (TMY2) | 148362000 | 1483.62 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA ID Boise (TMY2) | 156003000 | 1560.03 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA IL Springfield (TMY2) | 147970000 | 1479.7 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA IN Indianapolis (TMY2) | 142388000 | 1423.88 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA KS Hutchinson Municipal Ap (TMY3) | 161138000 | 1611.38 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA KY Bowling Green Warren Co Ap (TMY3) | 124196000 | 1241.96 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA LA Baton Rouge (TMY2) | 149854000 | 1498.54 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA MA Boston (TMY2) | 142799000 | 1427.99 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA MD Baltimore (TMY2) | 142982000 | 1429.82 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA ME Augusta Airport (TMY3) | 119800000 | 1198 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA MI Saginaw Tri City Intl Ap (TMY3) | 132854000 | 1328.54 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA MN Minneapolis (TMY2) | 145493000 | 1454.93 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA MO Kansas City (TMY2) | 151679000 | 1516.79 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA MS Jackson (TMY2) | 152936000 | 1529.36 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA MT Great Falls (TMY2) | 148196000 | 1481.96 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA NC Greensboro (TMY2) | 152426000 | 1524.26 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA ND Bismarck (TMY2) | 151870000 | 1518.7 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA NE North Platte (TMY2) | 162357000 | 1623.57 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA NH Concord (TMY2) | 142370000 | 1423.7 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA NJ Atlantic City (TMY2) | 146064000 | 1460.64 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA NY Rochester (TMY2) | 127411000 | 1274.11 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA OH Columbus (TMY2) | 132365000 | 1323.65 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA OK Oklahoma City (TMY2) | 163159000 | 1631.59 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA OR Roseburg Regional Ap (TMY3) | 133888000 | 1338.88 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA PA Lancaster (TMY3) | 127960000 | 1279.6 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA RI Providence (TMY2) | 143590000 | 1435.9 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA SC Greenville (TMY2) | 153715000 | 1537.15 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA SD Pierre (TMY2) | 157603000 | 1576.03 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA TN Nashville (TMY2) | 148884000 | 1488.84 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA UT Salt Lake City (TMY2) | 160013000 | 1600.13 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA VA Richmond (TMY2) | 148160000 | 1481.6 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA VT Burlington (TMY2) | 133693000 | 1336.93 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA WA Bremerton National (TMY3) | 118834000 | 1188.34 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA WI Madison (TMY2) | 140892000 | 1408.92 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA WV Charleston (TMY2) | 133938000 | 1339.38 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA WY Cheyenne (TMY2) | 163489000 | 1634.89 | 0.4
CdTe | glass-glass | fixed tilt, utility scale | USA AK Anchorage Intl Ap (TMY3) | 95911300 | 959.113 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA NM Albuquerque (TMY2) | 254080000 | 2540.8 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA NV Las Vegas (TMY2) | 261762000 | 2617.62 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA TX San Antonio (TMY2) | 207165000 | 2071.65 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA AL Montgomery (TMY2) | 193154000 | 1931.54 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA AR Little Rock (TMY2) | 197270000 | 1972.7 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA AZ Phoenix (TMY2) | 255829000 | 2558.29 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA CA Daggett (TMY2) | 271673000 | 2716.73 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA CO Denver Intl Ap (TMY3) | 216868000 | 2168.68 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA CT Hartford (TMY2) | 167757000 | 1677.57 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA DE Dover Afb (TMY3) | 175276000 | 1752.76 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA FL Fort Lauderdale (TMY3) | 185019000 | 1850.19 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA GA Albany Dougherty County Ap (TMY3) | 185504000 | 1855.04 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA HI Honolulu (TMY2) | 229305000 | 2293.05 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA IA Des Moines (TMY2) | 193787000 | 1937.87 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA ID Boise (TMY2) | 212509000 | 2125.09 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA IL Springfield (TMY2) | 192097000 | 1920.97 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA IN Indianapolis (TMY2) | 180318000 | 1803.18 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA KS Hutchinson Municipal Ap (TMY3) | 215123000 | 2151.23 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA KY Bowling Green Warren Co Ap (TMY3) | 157933000 | 1579.33 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA LA Baton Rouge (TMY2) | 188746000 | 1887.46 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA MA Boston (TMY2) | 181944000 | 1819.44 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA MD Baltimore (TMY2) | 182730000 | 1827.3 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA ME Augusta Airport (TMY3) | 152863000 | 1528.63 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA MI Saginaw Tri City Intl Ap (TMY3) | 171152000 | 1711.52 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA MN Minneapolis (TMY2) | 188732000 | 1887.32 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA MO Kansas City (TMY2) | 197111000 | 1971.11 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA MS Jackson (TMY2) | 194555000 | 1945.55 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA MT Great Falls (TMY2) | 197262000 | 1972.62 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA NC Greensboro (TMY2) | 195328000 | 1953.28 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA ND Bismarck (TMY2) | 200755000 | 2007.55 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA NE North Platte (TMY2) | 215666000 | 2156.66 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA NH Concord (TMY2) | 182199000 | 1821.99 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA NJ Atlantic City (TMY2) | 185359000 | 1853.59 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA NY Rochester (TMY2) | 161940000 | 1619.4 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA OH Columbus (TMY2) | 166552000 | 1665.52 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA OK Oklahoma City (TMY2) | 215292000 | 2152.92 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA OR Roseburg Regional Ap (TMY3) | 176860000 | 1768.6 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA PA Lancaster (TMY3) | 161624000 | 1616.24 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA RI Providence (TMY2) | 182488000 | 1824.88 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA SC Greenville (TMY2) | 197408000 | 1974.08 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA SD Pierre (TMY2) | 209084000 | 2090.84 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA TN Nashville (TMY2) | 188333000 | 1883.33 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA UT Salt Lake City (TMY2) | 214595000 | 2145.95 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA VA Richmond (TMY2) | 188852000 | 1888.52 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA VT Burlington (TMY2) | 169821000 | 1698.21 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA WA Bremerton National (TMY3) | 153474000 | 1534.74 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA WI Madison (TMY2) | 178658000 | 1786.58 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA WV Charleston (TMY2) | 167212000 | 1672.12 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA WY Cheyenne (TMY2) | 218800000 | 2188 | 0.4
CdTe | glass-glass | single-axis tracked, utility scale | USA AK Anchorage Intl Ap (TMY3) | 122022000 | 1220.22 | 0.4